## Template
Data Input
Please fill the yellow boxes below:
Conc. of Sunset Yellow (ppm) | Measured Voltage (mV) | Abs (arbitrary)
0 | 67 | 0
20 | 43.5 | 0.19
40 | 41.2 | 0.21
60 | 23.5 | 0.46
80 | 16 | 0.62
100 | 14.6 | 0.66
Sample: 50% Lucozade | 28 | 0.38
Sample: Fanta | 16 | 0.62
Calibration Curve
| Slope of the curve | y-intercept
| 0.0069143 | 0.010952
Sample: Lucozade
Concentration of diluted sample | 53.3747 | ppm
Concentration of lucozade | 106.7493 | ppm
Sample: Fanta
Concentration of Fanta | 88.0854 | ppm